
[image: image1.wmf]H

C

L

U

G

E

H

T

F

O

N

A

I

D

R

A

U

G


             CITY OF HELENA

FIRE FLOW INFORMATION REQUEST
Applicant: _____________________________________________ Phone #: ___________________
Mailing Address: ___________________________________ Project Name: ___________________

E-Mail Address: ____________________________________              Fax #: ___________________
Project Location/Address_____________________________ Property Elevation (ft): ___________

** All information above must be included by the applicant for the request to be processed.

Address/location of fire flow information request (Hydrant #, Cross Streets, or street address)

____________________________________________________________________________________

____________________________________________________________________________________

Engineer Signature: ________________________________________________ Date: ____________
Fire Sprinkler Designer Signature: __________________________________ Date: _______________
Please be aware that this information is from a flow test and pressures may fluctuate during the normal operation of the water system.  In addition to normal operating pressure fluctuation, the City may change pressure zones in order to better operate the water system.    

All fire sprinkler systems are required to be designed at 90% of the maximum operating pressure and a pressure relief valve installed to protect the system from pressure surges.  The City of Helena may move the existing Low Malben Pressure Zone to the maximum service elevation of 4009 feet and create the new Valley Pressure Zone to the maximum service elevation of 3819 feet.  Any system with a ground elevation that falls within the changing or new pressure zone, must be designed with the calculated design pressure received from the City Engineering Department.  Please see the Fire Pressure Zone Map.  These requirements will take affect for any system reviewed by the City Fire Marshal after July 1, 2007.  A completed copy of this form shall accompany sprinkler system plans submitted to the City of Helena Fire Marshal.
Any system that is located within the changing zone or new pressure zone may delay the installation of the fire pump until the change takes place as long the new system is designed with calculated design pressure received by the City Engineering Department.  The owner’s signature is required below and a copy of this signed request is to be submitted to the City of Helena Fire Marshall and on file with the City of Helena Building Division prior to receiving occupancy.  
Owner’s Signature: __________________________________ Date: _______________

Approved by: _______________________________ Date: _________________

_____________________________________________________________________________
For City of Helena Office Use Only                      Date Returned: ______________
Future Pressure Zone: _____________________ Existing Pressure Zone: _____________________
Is the Pressure Zone anticipated to change in the future?            _______ Yes
                  _______No
Calculated Site Pressure (psi): _________ Calculated New Design Static Pressure (psi): _________
(Only used for sites that may change pressure zones)

   Test Date: _____________

Hydrant #: _________ Hydrant Location: ______________________________________
Static Pressure (psi): _______________              Residual Pressure (psi): ____________ _

Residual Flow Rate (gpm): __________ Fire Flow (Hazen-Williams) (gpm): ___________
 ____________________________________________________________________________
   Test Date: _____________

Hydrant #: _________ Hydrant Location: ______________________________________
Static Pressure (psi): _______________              Residual Pressure (psi): ____________ _

Residual Flow Rate (gpm): __________ Fire Flow (Hazen-Williams) (gpm): ___________
 ____________________________________________________________________________

   Test Date: _____________

Hydrant #: _________ Hydrant Location: ______________________________________
Static Pressure (psi): _______________              Residual Pressure (psi): ____________ _

Residual Flow Rate (gpm): __________ Fire Flow (Hazen-Williams) (gpm): ___________
 ____________________________________________________________________________

   Test Date: _____________

Hydrant #: _________ Hydrant Location: ______________________________________
Static Pressure (psi): _______________              Residual Pressure (psi): ____________ _

Residual Flow Rate (gpm): __________ Fire Flow (Hazen-Williams) (gpm): ___________
 ____________________________________________________________________________

   Test Date: _____________

Hydrant #: _________ Hydrant Location: ______________________________________
Static Pressure (psi): _______________              Residual Pressure (psi): ____________ _

Residual Flow Rate (gpm): __________ Fire Flow (Hazen-Williams) (gpm): ___________
____________________________________________________________________________

   Test Date: _____________

Hydrant #: _________ Hydrant Location: ______________________________________
Static Pressure (psi): _______________              Residual Pressure (psi): ____________ _

Residual Flow Rate (gpm): __________ Fire Flow (Hazen-Williams) (gpm): ___________
_1248759731.dwg

