## Sheet1
CITY OF HELENA 2022 ENGINEERING STANDARDS UPDATE
Date: 6/2025
COMMENTS RECEIVED
1. Comments were taken at public meetings on 2/7/22 at 5PM and 2/22/22 at 3PM and ongoing on the City's Website until 3/7/22. Some additional comments were received via email after or before that time, all comments that were received were logged below.
Date | Commenter | Comment | Relevant Section | Topic | Department/Division | Full Comment | City Response/Evaluation
2022-02-07 | Mark Runkle | Plastic curb stops should be allowed. | 2.5.4 | Curb Stops and Boxes | Utility Maintenance | Poly curb boxes allowed? Review strength and use only in corrosive soil. | Poly curb boxes are subject to soil creep and excessive bending. Poly curb boxes can be difficult to locate and corrosion resistance can be achieved by properly wrapping thc curb box in poly wrap and being installed as specified in the standards. The City would like to keep metal curb stops for location and to preserve a high quality standard for service lines as long as it provides the service line zero interest loan replacement program.
2022-02-07 | Jeremy Morris - Stahly Engineering | Provide standardized cathodic protection design for PVC pipe and fitting combinations. | 2.4.3 | Cathodic Protection of Water Mains | Engineering/Water Distribution | Consider standardized cathodic protection for certain assemblies and multi-joint applications with use of PVC pipe to avoid excessive use of anode bags. | Cathodic protection design is typically the responsibility of the design/certifying engineer.Looked into this and there really is no "standardized design" possible while still preserving maximum efficiency. There are several factors incorporated into cathodic protection design, including but not limited to: site soil characteristics, fitting configuration, burial depth, anode size/characteristics and availability that require it to be done on a case by case basis.
2022-02-07 | Jeremy Morris - Stahly Engineering | 5,000 square feet impervious area requirement | 4.5 | Storm Water Runoff Control & Water Quality Treatment | Engineering/Storm Water | Does the 5,000 square feet of impervious area pertain to the total area or redevelopment area? Is it 5,000 square feet total or an increase of 5,000 square feet? Please provide clarification. | This section has been edited to provide additional clarification.
2022-02-07 | Jeremy Morris - Stahly Engineering | Underground water quality storage should be permitted. Underground stormwater storage should be allowed. | Part 4 | Storm Drainage Systems - Underground Detention | Engineering/Storm Water Transportation | Underground water quality storage should be permitted. Underground stormwater storage should be allowed. | Underground water quality treatment and retention storage is not allowed to improve compliance with the City's MS4 general permit which requires better use of low impact development, and because underground water quality treatment and retention are not easily observable for maintenance needs and potential illicit discharges, they are also subject to failure due to clogging from fines and they are not easily maintained when previously porous soils are clogged with fines.
2022-02-07 | Jeremy Morris - Stahly Engineering | 4-inches vs. 3-inches asphalt on local streets | 5.2.10 | Roadway Specifications | Transportation | We would like a minimum pavement section of 3-inches thick vs. 4-inches thick as required on local roads. | The City would like to increase the longevity of local roads which a 4" asphalt section will do.
2022-02-07 | Jeremy Morris - Stahly Engineering Mark Runkle | Street widths for local streets 32 feet vs 34 or 36 feet. | Std Dwg 5-1A | Roadway Specifications | Transportation | Developers would like to see (narrower) 32 foot road widths instead of 36 that is required at present for local roads. The wider the roads, the faster people drive. 32 foot roadways would reduce speeds. | Fire Code requires 20;' unobstructed width which equates to two 10' lanes. The minimum parking lane width is 6' of asphalt and a 2' curb & gutter pan makes a total width of 36' from back of curb to back of curb with parking lanes on both sides.
2022-02-07 | Jeremy Morris - Stahly Engineering | Non Typical road sections should be added. | Part 5 | Roadway Specifications | Transportation | Would like to see non-typical roadway sections added to Engineering Standards for some types of roads. | These are "standards", anything non-typical would be a deviation from the standard and therefore is not included.
2022-02-07 | Jeremy Morris - Stahly Engineering | Turning Movements - Clarification | 5.2 | Transportation Design Standards | Transportation | Would like to see additional clarification provided for the turning movements required for roadway/parking lot design. | Definition for "Effective corner radius" added to the final standards.
2022-02-07 | Forrest Zimmerman Colleen Nichols - Helena Residents | Engineering Standards General | All | Revised Engineering and Design Standards 2022 Update | All | General Comment - We support the 2022 updated Engineering and Design Standards | No response needed to comment of support.
2022-04-20 | Greg Wirth - Stahly Engineering | Manhole Depth Clarification | 3.4.1 | Sanitary Sewer Main Design Considerations | Engineering/Sanitary Sewer | Please provide clarification on how manhole depth is measured to decide whether or not a 60-inch diameter manhole is needed. | Section 3.4.1. has been edited to clarify that manhole depth is measured from finished manhole rim to the deepest invert of the manhole.
2022-02-22 | Holly Manning-Robert Peccia and Associates | Easement wording comment | 4.6 | Storm Drainage Easements | Engineering/Storm Sewer | All components of Section 4.6 are wordy. | It was felt that this level of detail is needed to provide for easements in any number of configurations and situations, so that each could be addressed indivually without the need for a variance.
2022-02-22 | Jeremy Morris - Stahly Engineering | Underground water quality storage should be permitted. Underground stormwater storage should be allowed. | Part 4 | Storm Drainage Systems - Underground Detention | Engineering/Storm Sewer | If underground stormwater storage were permitted, private systems could be required to submit an annual maintenance record or be fined. | Underground water quality treatment and retention storage is not allowed to improve compliance with the City's MS4 general permit which requires better use of low impact development, and because underground water quality treatment and retention are not easily observable for maintenance needs and potential illicit discharges, they are also subject to failure due to clogging from fines and they are not easily maintained when previously porous soils are clogged with fines.
2022-02-22 | Mark Runkle | Underground water quality storage should be permitted. Underground stormwater storage should be allowed. | Part 4 | Storm Drainage Systems - Underground Detention | Engineering/Storm Water Transportation | Underground water quality storage should be permitted. Underground stormwater storage should be allowed. | Underground water quality treatment and retention storage is not allowed to improve compliance with the City's MS4 general permit which requires better use of low impact development, and because underground water quality treatment and retention are not easily observable for maintenance needs and potential illicit discharges, they are also subject to failure due to clogging from fines and they are not easily maintained when previously porous soils are clogged with fines.
2022-02-22 | Ron Bartsch | Private road widths | Std Dwg 5-1A | Roadway Specifications | Transportation | Private roads should be allowed to be narrower than 32 feet of asphalt if permitted to have limited/no parking etc. | The City has not way to enforce no parking along private roads. Therefore, to ensure emergency access, 32' of asphalt surface is the standard road width.
2022-02-22 | Jeremy Morris - Stahly Engineering | 4-inches vs. 3-inches asphalt on arterial and collector streets | Std Dwg 5-1A | Roadway Specifications | Transportation | Clarification in writing for limiting 4-inch vs. 3-inch asphalt for streets. 4-inches for arterials and collectors only. Would like this to be specifically clarified in the revised standards. | The City would like to increase the longevity of local roads which a 4" asphalt section will do. Please see previous comment.
2022-02-22 | Ron Bartsch | HDPE Pipe use | 2.4.2, 3.4.2. | Water Mains/Sanitary Sewer Mains - Materials | Utility Maintenance/Engineering/Water Distribution/Sewer Collection | Would like to see HDPE pipe permitted outside of traveled roadway/allowed for private infrastructure | For the sake of universal parts, ensuring uniform system quality, maintenance and ease of repair, Utility Maintenance Division would like to limit pipe materials to those specified. Section 2.4.2 permits the request to use alternate materials when justified.
2022-02-22 | Ron Bartsch | HDPE Curb Stops | 2.5.4 | Curb Stops and Boxes | Utility Maintenance | Would like to see HDPE curb boxes allowed. | Poly curb boxes are subject to soil creep and excessive bending. Poly curb boxes can be difficult to locate and corrosion resistance can be achieved by properly wrapping the curb box in poly wrap and being installed as specified in the standards. The City would like to keep metal curb stops for location and preserve a high quality standard for service lines as long as it provides the service line replacement program.
2022-02-22 | Solomon Redfern - Helena Sand and Gravel | Fire Hydrant Leads | 2.4.8 | Tapping City Water | Utility Maintenance | Would like to see the installation of fire hydrant leads not always require the installation of 6-inch MJ Tee. Certain situations should allow for the use of a 6-inch tapping saddle for fire hydrant leads. | The updated engineering standards currently allow for the use of an MJ AWWA and 6-inch tapping saddle for fire hydrant leads. Standard drawing 2-2 reflects this.
2022-02-22 | Solomon Redfern - Helena Sand and Gravel | Service line required 18-inch vertical clearance over sanitary sewer mains. | 2.4.5 | Sewer Line Crossings | Engineering/Sanitary Sewer | Does not agree with the need for 18-inch vertical separation between water services and sanitary sewer mains. | After researching current plumbing code, this section has been amended to reduce the vertical separation for service lines to 12-inches. The water service should also be installed above the sewer main whenever possible. The standard was changed to reflect this.
2022-04-25 | Tyson Pallister - City Building Department | 3/8" minus bedding on service lines | N/A | Sewer Service Line Installations | Engineering/Sanitary Sewer | Would like to see maximum bedding size for sanitary sewer services 3/8" minus not 3/4" minus. When compaction occurs he has seen 3/4" driven through service lines. | Bedding size for service lines does not appear to be addressed by the Engineering and Design Standards, this is addressed in MPWSS and plumbing code.
2022-02-22 | Chris Drake | Additional clarification on backflow prevention in engineering standards | 2.5.6 | Backflow Prevention | Utility Maintenance | Would like to see additional clarification provided in the engineering standards for backflow prevention. | A direct reference to the City of Helena Backflow Prevention Policy was inserted into section 2.5.6 of the City of Helena Engineering and Design Standards. This policy provides for detailed backflow prevention in a separate document.
2022-02-22 | Mark Runkle | City taps done by city personnel. | 2.4.6 | tapping City Water | Utility Maintenance | Would like to allow private contractors to tap City water mains. | City Code Title 6, Chapter2, Section 6-2-3, Rule 20 States: "No person other than an authorized employee of the utility maintenance division shall make any tap or connection with any main or distributing pipe of the city." - As such, this section of the Engineering and Design Standards is based on City Code. Changing existing City Code is beyond the scope of the Engineering and Design Standards Update.
2022-02-22 | Greg Wirth - Stahly Engineering | NW Energy, Boulevards/Curb Stop Location | Std Drawing 2-3A | Curb Stop Location | Utility Maintenance | Greg wanted us to consult with NW energy regarding curb stop location. | The Utility Maintenance Department regularly works with NW Energy and other utilities on project coordination.
2022-02-22 | Greg Wirth - Stahly Engineering | Community Development Engineer Review | General Comment | Engineering Standards Review | Engineering | New Community Development Engineer/Community Development Director should review the standards/ be part of the approval process. | The Developpment Services Engineer participated in this recent iteration. The new community development director was hired after the review and comment period has elapsed.
2022-02-22 | Kim Mack - City Building Department | Show Website | General Comment | Engineering Standards Review | Engineering
2022-03-08 | Mark Runkle | Thrust Block Requirement | 2.4.2 | Water Main Materials/Installation | Engineering | Eliminate the use of thrust blocking if joint restraints are required. The Commenter also provided video and literature from a restrained joint manufacturer, and the following video. https://youtu.be/px8hZLOVKsc | The use of thrust blocking is standard procedure for pressure pipe installation and is required by the Montana Public Works Standard Specifications. The City requires the use of both to ensure a quality end product for the taxpayers of the City.
2022-02-22 | Aaron Larson - Millennium Engineering | Discrepancy in tapping sizes/minimum water service size. | 2.4.6, 2.5.1 | Tapping City Water/Water Service Line Materials | Engineering/Utility Maintenance | I noticed a discrepancy, under 2.4.6 Tapping City Water paragraph 4, it talks about ¾” taps in mains. Then in 2.5.1 Water Service Lines, it say All service lines shall be a minimum of 1” in diameter. Is 2.5.1 correct and ¾” services will be phased out? or are they still allowed? | This discrepancy was corrected in the final printing of the Engineering Standards. 1-inch water service is the minimum size allowed in the City of Helena. They were phased out with the previous engineering standard revision.
2022-02-23 | Chris Drake | Backflow Requirements Clarification | 2.5.6 | Backflow Prevention | Utility Maintenance | During the meeting on 2/22, it was said that additional clarifications would be added to the proposed standard regarding commercial water entry and backflow requirements. When will these clarifications be available for public review? | The adoption of a comprehensive backflow prevention policy has been undertaken in a separate effort by the City of Helena Utility Maintenance Division. This process has included open public meetings and comment. Clarification of City backflow prevention policies are outlined within this policy.
2022-02-23 | Big Sky (plumbing?) Troy | PVC Water Main/Plastic Service Line | 2.4.2, 2.5.1 | Water Main Materials/Water Service Line Materials | Engineering/Utility Maintenance | The City of Helena needs to amend its current code to allow for C900 PVC to be used in all Water main applications and Polypropylene piping to be used for all water services up to 2". | The City currently allows the use of C900 pipe for water main installations. The City currently allows the use of HDPE water service line on a case-by-case basis for locations shown to have corrosive soils. The City would like to keep copper service line use as the default in order to preserve a high quality standard for service lines as long as it provides the service line zero interest loan replacement program.
2020-03-10 | Paul Cartwright | Transportation - Functional Classifications | 5.1.3 | Functional Classification of Roadways | Transportation | Many of roads in the city, especially in the older, more compact core, carry far fewer vehicles than the standards deem typical for their functional classification. This remains true even with the loads projected for 2035 in the Long Range Transportation Plan. Will the City require the cross-section of new or rebuilt roads to match the functional classification of a road or the real world load? How will this be decided? | The typical vehicle volume is not a requirement
2020-03-10 | Paul Cartwright | Transportation - Curb Return Radius | 5.2.5 | Horizontal Alignment | Transportation | Curb return radii for lower functional class roads are greater than needed. Such large radii mean the pedestrian ramps point to the middle of the intersection rather than across the street; these radii also increase the cost of installing ramps and building streets. Large radii encourage faster vehicle turning movements, which could endanger pedestrians. Large radii are needed where larger vehicles are likely to be present and where the receiving street has striped lanes. On streets without designated lanes—which by definition are lower volume streets—large vehicles can use as much of the street width as necessary to complete the turn; large radii are not required. A reasonable return radius can be determined by inspecting street corners on local and collector streets in the older parts of town, many of which have radii of 5 ft or even 3 ft. (And now, at the end of winter, appears to be a good time to make that inspection.) One rarely sees tire tracks or damage at a 5 ft radius. This suggests a 7 ft radius would be more than adequate. Also, a 7 ft radius would exactly fit the 7 ft minimum requirement for boulevard width. | (Valid point) - Except for emergency vehicles.
2020-03-10 | Paul Cartwright | Right of Way Widths | 5.3 | Right of Way (ROW) Standards | Transportation | Point 6, Determining ROW width on existing streets: Same comment as on functional classification. Some decision criteria should be listed. | ROW widths on existing streets are already platted and have exemptions in the standards to accommodate.
2020-03-10 | Paul Cartwright | Complete Streets | Table 5-3. | Complete Street Component Matrix | Transportation | The complete street component matrix should be qualified by a statement that the size and number of components depend on the expected traffic using the street and that designers should use only the minimum necessary to make the street function adequately for all modes. This applies to everything, from lane width to presence of bike lane to bulb-outs at intersections and all. Given present housing affordability and future street maintenance costs, the City should be thoughtful about how much infrastructure it takes on. | If we design to minimums for projected adequacy we will hinder future development much like we see in areas of the City with roadways and alleys that are too narrow for today's transportation needs whether that is emergency services or bicycles.
2020-03-10 | Paul Cartwright | Local Road Cross Section | Drawing 5-1A, Drawing 5-1B, Table 5-3 | Local Road Cross Section Drawing, Complete Street Component Matrix | Transportation | Travel lane width does not match matrix on p.69. Should be 9 feet. | Component Matrix has been corrected to match drawings. (10' lanes min)
2020-03-10 | Paul Cartwright | Collector Road Cross Section | Drawing 5-2 Table 5-3 | Collector Road Cross Section, Complete Street Component Matrix | Transportation | Travel lane width does not match matrix on p.69. Should be 10 feet. | Component Matrix has been corrected to match drawings. (10' lanes min)
2020-03-10 | Paul Cartwright | Minor Arterial Road Cross Section | Drawing 5-3, Table 5-3 | Minor Arterial Road Cross Section, Complete Street Component Matrix | Transportation | Travel lane width does not match matrix on p.69. Should be 11 feet. | Component Matrix has been corrected to match drawings.(11' lanes min)
2020-03-10 | Paul Cartwright | Gravel Roads | N/A/ | Gravel Road Standard | Transportation | Gravel road cross-section The standards should include a cross-section for a low-volume modern gravel road. These are much cheaper to build and maintain than paved roads and can more readily accommodate utility updates/repairs. Because funds even now are inadequate to maintain all the roads in town, some roads will be going to gravel, whatever the policy is. Better to do so in an organized and systematic way. Allowing such roads where suitable also would lower the cost of, and resistance to, bringing annexed areas up to city standards. | The City currently does not allow new gravel roads to be constructed. May consider if waiver right to protest SID or deed restruiction, etc.
2022-04-21 | Trent Scheuer | Critical Water Services | 2.5.6 | Backflow Prevention | Utility Maintenance | Utility Maintenance offered the following definition for a critical water service: "Critical water services are water services where the water cannot be shut off - even for a few moments at any time. Typically critical services are found at hospitals, emergency care centers, film-processing laboratories, industrial plants where the water is in continuous use. When the need for a critical service is made known, the water supplier usually will need to do one of two things. The water supplier could require multiple services. In this case, all services would need to be protected by the same level of backflow prevention. If only a single water service is available to the property, parallel backflow protections may be required. In this case a single service connection is provided with two or more backflow prevention assemblies. One may be shut off for field testing or maintenance while the other(s) provides water. | The adoption of a comprehensive backflow prevention policy has been undertaken in a separate effort by the City of Helena Utility Maintenance Division. This process has included open public meetings and comment. Clarification of City backflow prevention policies are outlined within this policy.
2022-04-20 | Paul Cartwright | Complete Streets | 5.2.12 | Complete Streets Policy | Transportation | The complete streets section of the 2022 standards (5.2.12) gives no clue that the commission policy is about appropriate features. This section repeats the laundry list in the resolution without making it clear that the developer is supposed to pick and choose the features that make sense. The section even calls a request to ignore certain features as a “deviation” from the policy, which is silly. To exclude features that are dumb or unneeded in the context of a specific street implements rather than deviates from the policy. The checklist in the appendix does go some way towards showing the policy wasn’t trying to be totally unreasonable. But still, there’s no indication of why features should be included or omitted from a design. This is an approach likely to cause maximum grumpiness among developers and/or encourage them to avoid developing in Helena, only exacerbating a problem we already have. Public Works should take a close look at the complete streets resolution and the discussion. The resolution carried 5-0 (even Mayor Smith!) because the commissioners knew we weren’t ordering every street to have the whole laundry list of features. Engineering standards have to cover all eventualities, but features should not be treated as if they are required on each street. That is, the evaluation should be treated as an opt-in rather than an opt-out. Standards should be based on the purpose and likely use of the street. The goal should be the cheapest durable solution to meet the goals of the policy. I think the standards should clearly state the policy is about appropriate features and then list criteria Public Works will use for determining appropriateness of a feature. I myself would set out something like: a) nature of the transportation issues being addressed; b) current need or foreseeable future need for each mode; c) whether costs would be excessively disproportionate to those needs; d) availability of existing right of way; or e) whether a specific measure would be clearly contrary to public safety. And if Public Works wanted to get more specific, they could go with something like expected traffic volume by different mode, relation to various destinations, and type of street (local, collector, arterial) that the street is likely to be. Why not lay those out up front rather than antagonizing developers and/or encouraging them to gold-plate their streets? | Designers can chose which features to include as long as all modes of transportation are accomodated.
2/22/2022, 4/20/2022, 5/13/2022 | Sarah Perry | Engineering Standards General | General Comment | Engineering Standards Review | Engineering | Ms. Perry has called and emailed several times to indicate that she strongly supports passing the updated engineering standards. | These comments+J50/support has been logged.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.1.2 | Block Definition | Transportation | Comment [U71]: Reason: Block is defined ordinary; accepted definition is sufficient. | Definition inserted to provide clarification.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.1.2 | Development Definition | Transportation | Comment [U72]: Reason: Relates to TIS requirement. Excessive and not typical in Montana. Actually a land use issue. | Definition inserted to provide clarification.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.1.2 | Effective Corner Radius Definition | Transportation | Comment [U73]: Reason: Handled Elseware | Definition inserted to provide clarification.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.1.4 | Local Office/Commercial Street-Eliminate | Transportation | Comment [U74]: Reason: Office and Commercial streets should be designed by developer to suit site specific needs in accord with the complete streets policy. | The language has to be there to insure that complete streets standards are used in designs to ensure consistency. Applicants can also propose something different for consideration.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2 | Multiple deletions. Refer to their copy with redactions. | Transportation | Commented [U75]: Clarification. Commented[U76}: Reason: Conflicts with previous sentence. [U77]: Reason: Not private streets. | Insertion of subdivision not recommended due to other types of development. Staff will look at clarifying the language. City standards are being considered for private streets due to emergency and maintenance issues.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2.2 | First paragraph delete. Change the base course minimum to 3". Paragraph 5, eliminate: approved by the Transportation Systems Department. Paragraph 6, eliminate: the best practices as identified in the current edition of Public Rights of Way Accessibility Guidelines (PROWAG). | Transportation | Commented [U78]: Reason: Violates Complete Streets Policy. Commented [U79]: Reason: MDT is 2.5". More is wasteful and can cause settling and less stable concrete. Commented [U80]: Reason: Subjective statement. Commented [U81}: Reason: Simplification and clarification. | Typical sections are Typical they do not contemplate every situation. - Minimum base depth will be equal or exceed concrete or pavement thickness in order to provide a better structural number to accommodate the uses proposed. - Okay w/ removing TSD from language but plans are reviewed and approved by TSD staff. - Okay with change but add if stricter standards are adopted by the City those standards are to be met.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2.4 | Eliminate second paragraph. | Transportation | Commented [U82}: Reason: Highway standard does not apply. NACTO applies. | This change has not been reviewed in detail by staff and has not been publicly noticed or adopted by the City Commission.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2.5 | Eliminate Turning Movements, Curb Return Radius, Table 5-1 and related notes. Eliminate Intersections. | Transportation | Commented [U83]: Reason: Overly restrictive and unreasonable. Commented [U84]: Reason: Curb radii to be measured from back of curb and determined by NACTO guidelines. Commented [U85]: Reason: NACTO should be used instead of AASHTO for city streets as AASHTO is highway standards.(AASHTO: American Association of State Highway and Transportation Officials. NACTO: National Association of City Transportation Officials.) Commented [U86]: Reason: Logic; other jurisdiction. Commented [U87}: Reason: Outdated - was for strictly vehicular traffic, not multi-modal. Does not conform to complete streets policy. | This change has not been reviewed in detail by staff and has not been publicly noticed or adopted by the City Commission.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2 | Table 5-2, multiple revisions to distances. Refer to their table for details. Revise sub note from AASHTO to NACTO. | Transportation | Commented [U88]: Reason: The alignment controls should be reduced for traffic calming, inclusive design, and provide accommodation for topography challenges in Helena. More appropriate for urban design. Commented [U89]: Reason: NACTO is appropriate standard. | This change has not been reviewed in detail by staff and has not been publicly noticed or adopted by the City Commission.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2.6 | Eliminate Changing Grades Table and replace with: For local and collector streets, a vertical curve is to be used where the algebraic difference in grade exceeds 2.0%. Under Offsite Design and Construction, substitute 2.0% for 1.0% in allowable grade breaks. | Transportation | Commented [U90]: Reason: Simplification. Commented [U91]: Reason: Consistency with vertical curve criteria. | This change has not been reviewed in detail by staff and has not been publicly noticed or adopted by the City Commission.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2.8 | Third sentence, preface with: Unless privately maintained. Change minimum median width to 2'. Eliminate then of the paragraph after curb extensions. | Transportation | Commented [U92]: Reason: Allows HOA's to beautify medians without cost to the city. Commented [U93]: Reason: Allows for turn lane separation without overly widening the street. Commented [U94]: Reason: Non-standard. Unnecessary, expensive, and costly for future maintenance for city taxpayers. Was not previously required. | This change has not been reviewed in detail by staff and has not been publicly noticed or adopted by the City Commission.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.2.10 | Under Pavement Thickness, eliminate collector twice and remove placing asphalt in two lifts for 3" sections. | Transportation | Commented [U95]: Reason: Unnecessary and costly. Commented [U96]: Reason: Unnecessary and costly. Commented [U97] Reason: Correction/Clarification. | City plans for long term maintenance thinner sections degrade faster. The higher level of esal's on collectors and arterials will cause damage to the roadway thus putting more cost to the taxpayers.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.3 | Table 5-3. Multiple revisions. Eliminate the column for Local Office/Commercial. Change Curb and Gutter to 1.5' and all widths and dimensions follow the narrowing of C&G. | Transportation | Commented [U98]: Reason: Should be site specific engineered design in compliance with complete streets policy. | This change has not been reviewed in detail by staff and has not been publicly noticed or adopted by the City Commission.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.8 | Eliminate third paragraph. | Transportation | Commented [U99]: Reason: Having a licensed P.E. in Montana is adequate. | City has just clarified what is in appendix B.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers | Transportation Standards | 5.14 | Eliminate the last phrase on the final sentence- as approved by the Transportation Engineer. | Transportation | Commented [U100]: Reason: Needs standard drawings to guide development engineer. | City can provide standard drawings in next update.
2023-03-23 | Helena Engineering Standards Ad HOC Committee of Developers and Civil Engineers |  | Appendix B - TIS Requirements | Eliminate everything but the outline for the TIS Requirements | Transportation | Commented [U104 - U113]: Reason: Not necessary. Can rely on the expertise of a professional engineer. | TIS standards were revised to better state the City's expectation of what should be included in a TIS.